{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["Sheet2","Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet2","index":0,"n_rows":67,"n_cols":31,"rows_kept":67,"cut":false,"hidden":false,"merged":[]}
["Equipment Name","Name of Equipment Technologist/Operator","Email id of Equipment Technologist/Operator","Contact No. (Mobile No.) of Equipment Technologist/Operator","Approved Abbreviation","Landmark/Location (Room No.)","Make (Manufacturer of Equipment)","Model No.","Funding Agency Type (External/Instituion)","Funding Agency Details (Use Comma if multiple) Such as DST, CSIR, ICMR etc.","Equipment Description","Cost of Instrument Sanctioned in the Project","Year of Installation","Present status of Equipment (Up/Down/Under Maintenance)","% of total time to be made available to the external users","Category","Lab/Facility Name","Department Name","Name of Head of the Department","Email id of Head of the Department","Phone No. (Office) of Head of the Department","Name of Department Representative","Contact No. of Department Representative","Email id of Department Representative","Name of Faculty Incharge of Facility","Email id of Faculty Incharge of Facility","Contact No. of Faculty Incharge of Facility","Name of Departments (in case Faculty Incharge belongs to multiple departments) ","Name of Departments (in case Equipment Technologist/Operator belongs to multiple departments)","Name of the Project","Duration (From Year - To Year) "]
["3D Printer","Er.Ajay Gupta","4ajaygupta@.in.com",9417542571,"3D","Additive Manufacturing Lab","Novabeans","NIL","External","TEQIP,MHRD","Metal printing",3475800,2019,"UP",0.5,"UG,PG &PhD","Additive manufacturing lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er. Lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.pardeep Gupta","pardeepmech@yahoo.co.in",9417664777,"NO","NO","TEQIP","2017-2020"]
["Extrusion Machine","Er.Ajay Gupta","4ajaygupta@.in.com",9417542571,"EM","Additive Manufacturing Lab","Novabeans","NIL","External","TEQIP,MHRD","Making wire Filament",153825,"24/10/2019","UP",0.5,"UG,PG &Phd","Additive manufacturing lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.pardeep Gupta","pardeepmech@yahoo.co.in",9417664777,"NO","NO","TEQIP","2017-2020"]
["Printer 3 D","Er.Ajay Gupta","4ajaygupta@.in.com",9417542571,"3D","Additive Manufacturing Lab","Novabeans","Delta2040","External","TEQIP,MHRD","polymer/ceramic printing","4,89,289","18/12/2019","up",0.5,"UG,PG &Phd","Additive manufacturing lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.pardeep Gupta","pardeepmech@yahoo.co.in",9417664777,"NO","NO","TEQIP","2017-2020"]
["Force measuring milling dynamometer","Er.Ajay Gupta","4ajaygupta@.in.com",9417542571,"FMD","Advance Machining lab","Real Technologies","MTD500","External","TEQIP,MHRD","Force Measurment","9,98,325","07.06.2016","UP",0.5,"PG &Phd","Advance Machining lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.pardeep Gupta","pardeepmech@yahoo.co.in",9417664777,"NO","NO","TEQIP","NA"]
["Horizontal milling machine","Er.Ajay Gupta","4ajaygupta@.in.com",9417542572,"HMM","Advance Machining lab","Newmax",1871,"Instituion","GIA","Milling","7,51,177","31.03.2015","UP",0.5,"PG &Phd","Advance Machining lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.pardeep Gupta","pardeepmech@yahoo.co.in",9417664777,"NO","NO","NA","NA"]
["Lathe tool dynamometer","Er.Ajay Gupta","4ajaygupta@.in.com",9417542573,"LTD","Advance Machining lab","Real Technologies","LTD500","Instituion","GIA","Force Measurment","9,82,125","28.03.2015","UP",0.5,"PG &Phd","Advance Machining lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.pardeep Gupta","pardeepmech@yahoo.co.in",9417664777,"NO","NO","NA","NA"]
["Lathe machine tool","Er.Ajay Gupta","4ajaygupta@.in.com",9417542574,"LMT","Advance Machining lab","HMT","NH22","Instituion","GIA","Engg.works","12,48,531","30.09.2015","UP",0.5,"PG &Phd","Advance Machining lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.pardeep Gupta","pardeepmech@yahoo.co.in",9417664777,"NO","NO","NA","NA"]
["Gas analyser","Navinder Singh","navindersliet71@gmail.com",9463791029,"GA","Automobile Engineering Lab","Pantron","NIL","Instituion","GIA","smoke testing",199125,"15/5/08","UP",0.5,"UG &PG","Automobile lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.jagtar Singh","jagtarsliet@gmail.com",9781122101,"NO","NO","NA","NA"]
["Single cylinder disel engine test Rig","Navinder Singh","navindersliet71@gmail.com",9463791029,"SDE","Automobile Engineering Lab","Engineering Equipment","NIL","Instituion","GIA","BHP",242632.56,"26/10/09","UP",0.5,"UG &PG","Automobile lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.jagtar Singh","jagtarsliet@gmail.com",9781122101,"NO","NO","NA","NA"]
["Automatic Electrolytic Polishing cum etching m/c","Er.Ajay Gupta","4ajaygupta@gmail.com",9417542571,"AEPM","Welding metallurgy & Heat Treatment Lab","Metatech","NIL","External","MHRD","Polshing",192073.14,"2000-04-02","Under maintence ",0.5,"UG & PG","Materials & Heat Treatment Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.A.Shahi","ashahisliet@yahoo.co.in",9872426789,"MHRD","NO","NA","NA"]
["Micro Hardness Tester","Er.Ajay Gupta","4ajaygupta@gmail.com",9417542571,"MHT","Welding metallurgy & Heat Treatment Lab","Smiuadzu","NIL","Instituion","MHRD","Hardness testing",684694,"15/02/2000","UP",0.5,"UG ","Materials & Heat Treatment Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.A.Shahi","ashahisliet@yahoo.co.in",9872426789,"NO","NO","NA","NA"]
["E-Power Image Analyzer","Er.Ajay Gupta","4ajaygupta@gmail.com",9417542571,"EPIA","Welding metallurgy & Heat Treatment Lab","NIL","NIL","Instituion","MHRD","Image analaysier",283920,"30/06/2009","UP",0.5,"UG,PG &Phd","Materials & Heat Treatment Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.A.Shahi","ashahisliet@yahoo.co.in",9872426789,"NO","NO","NA","NA"]
["Digital Universal Testing m/c","Er.Ajay Gupta","4ajaygupta@gmail.com",9417542571,"DUTM","Welding metallurgy & Heat Treatment Lab","Continental","NIL","Instituion","MHRD","Mechanical Property Testing",410400,"2004-02-12","Under maintence ",0.5,"UG & PG","Materials & Heat Treatment Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.A.Shahi","ashahisliet@yahoo.co.in",9872426789,"NO","NO","NA","NA"]
["Sterozoom Microscope","Er.Ajay Gupta","4ajaygupta@gmail.com",9417542571,"SM","Welding metallurgy & Heat Treatment Lab","Qualitech","NIL","Instituion","MHRD","Microstructure ",185680,"26/03/2010","UP",0.5,"UG,PG &Phd","Materials & Heat Treatment Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.A.Shahi","ashahisliet@yahoo.co.in",9872426789,"NO","NO","NA","NA"]
["Ferrito scope","Er.Ajay Gupta","4ajaygupta@gmail.com",9417542571,"FS","Welding metallurgy & Heat Treatment Lab","Qualitech","NIL","Instituion","MHRD","% of iron checking",469475,"19/05/2011","UP",0.5,"UG,&PG ","Materials & Heat Treatment Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.A.Shahi","ashahisliet@yahoo.co.in",9872426789,"NO","NO","NA","NA"]
["Wear & friction testing m/c","Er.Ajay Gupta","4ajaygupta@gmail.com",9417542571,"WFT","Welding metallurgy & Heat Treatment Lab","Qualitech","NIL","Instituion","MHRD","Wear Test",548600,"26/05/2011","Down",0.5,"UG,PG &Phd","Materials & Heat Treatment Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.A.Shahi","ashahisliet@yahoo.co.in",9872426789,"NO","NO","NA","NA"]
["Potentiostate","Er.Ajay Gupta","4ajaygupta@gmail.com",9417542571,"PT","Welding metallurgy & Heat Treatment Lab","Gamry","NIL","Instituion","MHRD","Corrision Testing","US($)19313.00","NIL","Down",0.5,"PG &Phd","Materials & Heat Treatment Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.A.Shahi","ashahisliet@yahoo.co.in",9872426789,"NO","NO","NA","NA"]
["Extensometer m/c","Er.Ajay Gupta","4ajaygupta@gmail.com",9417542571,"ESM","Welding metallurgy & Heat Treatment Lab","Tilnuesolsen","NIL","Instituion","MHRD","Mechanical Property Testing","(GBP) 22124.00","2013-04-01","UP",0.5,"UG,PG &Phd","Materials & Heat Treatment Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.A.Shahi","ashahisliet@yahoo.co.in",9872426789,"NO","NO","NA","NA"]
["Fatigue Testing m/c","Er.Ajay Gupta","4ajaygupta@gmail.com",9417542571,"FTM","Welding metallurgy & Heat Treatment Lab","Aimil","NIL","Instituion","MHRD","Fatique Studies",3493125,"2014-12-06","UP",0.5,"PG &Phd","Materials & Heat Treatment Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.A.Shahi","ashahisliet@yahoo.co.in",9872426789,"NO","NO","NA","NA"]
["Cooling Bath for Charpy Specimens","Er.Ajay Gupta","4ajaygupta@gmail.com",9417542571,"CBCS","Welding metallurgy & Heat Treatment Lab","Tilnuesolsen","NIL","Instituion","MHRD","Cool of Specimen","US($)14840.00","28/10/2014","UP",0.5,"UG,PG &Phd","Materials & Heat Treatment Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.A.Shahi","ashahisliet@yahoo.co.in",9872426789,"NO","NO","NA","NA"]
["Pin / ball on Disk Tribometer","Er.Ajay Gupta","4ajaygupta@gmail.com",9417542571,"PBDT","Welding metallurgy & Heat Treatment Lab","Ducom","NIL","External","TEQIP,MHRD","Wear and Friction ",996129,"2016-03-05","UP",0.5,"UG,PG &Phd","Materials & Heat Treatment Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.A.Shahi","ashahisliet@yahoo.co.in",9872426789,"NO","NO","TEQIP","2012-2017"]
["LABOPOL-20 Grinding/ Polishing m/c","Er.Ajay Gupta","4ajaygupta@gmail.com",9417542571,"LGM","Welding metallurgy & Heat Treatment Lab","Aimil","NIL","External","TEQIP,MHRD","Polshing",1012500,"19/03/2016","UP",0.5,"UG,PG &Phd","Materials & Heat Treatment Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.A.Shahi","ashahisliet@yahoo.co.in",9872426789,"NO","NO","TEQIP","2012-2017"]
["LABOTOM Specimen Cutting m/c","Er.Ajay Gupta","4ajaygupta@gmail.com",9417542571,"LSCM","Welding metallurgy & Heat Treatment Lab","Aimil","NIL","External","TEQIP,MHRD","Specimen Cutting",984375,"19/03/2016","UP",0.5,"UG,PG &Phd","Materials & Heat Treatment Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.A.Shahi","ashahisliet@yahoo.co.in",9872426789,"NO","NO","TEQIP","2012-2017"]
["QR- 36 FREQ-4 FFT ANALYSER WITH  LAPTOP WORKSTATION","Sunil Dutt","prejoy2k9@gmail.com",9465358960,"FFT","Theory of machine lab","NIL",null,"Instituion","MHRD","Vibration signal analysis ","10,23,000","21.03.2006","Down",0.5,"UG,PG &Phd","Theory of machine lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.Vivek Kumar ","vivku@rediffmail.com",9988552993,"NO","NO","MOROB","2003-2006"]
["Solaris CCD Plus ( SCP ) Optical EmissionSpectrometer","Shashi Ranjan Kumar","shashisliet@gmail.com",7814385147,"SCP","Advance Casting Lab","GNR","NIL","Instituion","GIA","Spectograph of Metal","35300 EUR (2461716.10 INR )",2016,"UP",0.5,"UG,PG &Phd","Advance  Casting Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.Rakesh Kumar","rakeshsliet@yahoo.co.in",9417160644,"NO","NO","NA","NA"]
["vacum Oven","Shashi Ranjan Kumar","shashisliet@gmail.com",7814385147,"VO","Advance Casting Lab","Metex","NIL","Instituion","GIA","Heating Treatment",131250,"16/03/2020","UP",0.5,"UG,PG &Phd","Advance  Casting Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.Rakesh Kumar","rakeshsliet@yahoo.co.in",9417160644,"NO","NO","NA","NA"]
["STIR CASTING EQUIPMENT with accessories /(Melting Furnace of 950  and 1200 Degree Celsius )","Shashi Ranjan Kumar","shashisliet@gmail.com",7814385147,"SCE","Advance Casting Lab","Paras","NIL","Instituion","GIA","casting",133312.5,2008,"UP",0.5,"UG,PG &Phd","Advance  Casting Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.Rakesh Kumar","rakeshsliet@yahoo.co.in",9417160644,"NO","NO","NA","NA"]
["CNC lathe","Manhor Dhiman","manohardhiman@gmail.com",9417270311,"TC","CAD-CAM lab","Denford","MTAB","Instituion","GIA","Engg.works",600000,1995,"UP",0.5,"UG","CAD-CAM Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.R.K.saxsena","rkssliet@.ac.in",9216220006,"NO","NO","NA","NA"]
["CNC MILL","Manhor Dhiman","manohardhiman@gmail.com",9417270311,"MC","CAD-CAM lab","Denford","MTAB","Instituion","GIA","Milling Purpose",330000,1995,"UP",0.5,"UG","CAD-CAM Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.R.K.saxsena","rkssliet@.ac.in",9216220006,"NO","NO","NA","NA"]
["Pneumatic Trainer","Manhor Dhiman","manohardhiman@gmail.com",9417270311,"PT","Automation lab","NIL","NIL","Instituion","GIA","Practice trainer",239250,1999,"DOWN",0.5,"UG","Automation Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.ANIL Singla","aNIL_singla@yahoo.com",9781403550,"NO","NO","NA","NA"]
["Digial Micrometer Vickers hardness Tester","Navinder Singh","navindersliet71@gmail.com",9463791029,"DVH","Simulation Project lab","Redical Scientfic","NIL","External","HEFA","Hardness testing",496230,"2019-02-06","UP",0.5,"PG &Phd","Simulation Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Er.Anuj Bansal","anujbansalsliet@gmail.com",7508444725,"NO","NO","HEFA","NA"]
["Inverted Trinocular Metallurgical Microscope","Navinder Singh","navindersliet71@gmail.com",9463791029,"ITMM","Simulation Project lab","Alliod","NIL","Instituion","GIA","Microstructure Evaluation",440108,2016,"UP",0.5,"PG &Phd","Simulation Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Er.Anuj Bansal","anujbansalsliet@gmail.com",7508444725,"NO","NO","NA","NA"]
["Hydro-Mech. U.T.M  (R/Cap.- 60T with Standard  Accessories.)","Shashi Ranjan Kumar","shashisliet@gmail.com",7814385147,"UTM","SOM Lab","ENKAY","NIL","Instituion","GIA","Tensil Testing",266175,2000,"UP",0.5,null,"SOM Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.lalit Ahuja",7340997984,"lalit.ahuja003@gmail.com","Dr.Rakesh Kumar","rakeshsliet@yahoo.co.in",9417160644,"NO","NO","NA","NA"]
["Brinell Hardness Tester (Optical Model B- 3000 )","Shashi Ranjan Kumar","shashisliet@gmail.com",7814385147,"BHN","SOM Lab","Sigma","B-3000(O)","Instituion","GIA","Hardness testing",195767,2015,"UP",0.5,null,"SOM Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Dr.Mohd.Majid",9417207745,"mohdmajid_2004@rediffmail.com","Dr.Rakesh Kumar","rakeshsliet@yahoo.co.in",9417160644,"NO","NO","NA","NA"]
["Computrised UTM","Shashi Ranjan Kumar","shashisliet@gmail.com",7814385147,"UTM","SOM Lab","Ashian","AEC 1112-60T","Instituion","HEFA","Tensil Testing","10,23,750","28/11/2019","up",0.5,null,"SOM Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Dr.Mohd.Majid",9417207745,"mohdmajid_2004@rediffmail.com","Dr.Rakesh Kumar","rakeshsliet@yahoo.co.in",9417160644,"NO","NO","NA","NA"]
["Vickers Hardness Tester (Model No.- BV-50 ,Sr. No.- 2015/147) ","Shashi Ranjan Kumar","shashisliet@gmail.com",7814385147,"VHN","SOM Lab","Rockwell","M-BV-50","Instituion","GIA","Hardness testing",163125,2016,"Under maintence ",0.5,null,"SOM Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Dr.Mohd.Majid",9417207745,"mohdmajid_2004@rediffmail.com","Dr.Rakesh Kumar","rakeshsliet@yahoo.co.in",9417160644,"NO","NO","NA","NA"]
["Dry sand abrasion test Rig","Navinder Singh","navindersliet71@gmail.com",9463791029,"DSAT","Auto farm lab","Ducom","TR50M7","Instituion","GIA","Wear Test",343500,"20/9/13","Up",0.5,"PG &Phd","Auto farm Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Dr.Mohd.Majid",9417207745,"mohdmajid_2004@rediffmail.com","Dr.jagtar Singh","jagtarsliet@gmail.com",9781122101,"NO","NO","NA","NA"]
["Slurry abrasion testRig","Navinder Singh","navindersliet71@gmail.com",9463791029,"SAT","Auto farm lab","Ducom","TR44M2","Instituion","GIA","Wear Test",354950,"20/9/13","Up",0.5,"PG &Phd","Auto farm Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Dr.Mohd.Majid",9417207745,"mohdmajid_2004@rediffmail.com","Dr.jagtar Singh","jagtarsliet@gmail.com",9781122101,"NO","NO","NA","NA"]
["Cryogenic treatment chamber","Navinder Singh","navindersliet71@gmail.com",9463791029,"CTC","Auto farm lab","Super","NIL","Instituion","GIA","Sub Zero Treatment",1776348,"2013-08-10","Up",0.5,"PG &Phd","Auto farm Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Dr.Mohd.Majid",9417207745,"mohdmajid_2004@rediffmail.com","Dr.jagtar Singh","jagtarsliet@gmail.com",9781122101,"NO","NO","NA","NA"]
["Chamber Jet Erogen test rig","Navinder Singh","navindersliet71@gmail.com",9463791029,"CJET","Auto farm lab","Ducom","TR411","Instituion","GIA","Wear Test",858750,"27/3/15","Up",0.5,"PG &Phd","Auto farm Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Dr.Mohd.Majid",9417207745,"mohdmajid_2004@rediffmail.com","Dr.jagtar Singh","jagtarsliet@gmail.com",9781122101,"NO","NO","NA","NA"]
["Rotating Beam Fatuge Tester M/c","Navinder Singh","navindersliet71@gmail.com",9463791029,"RBFTM","Auto farm lab","Ducom","NIL","External","TEQIP,MHRD","Material Testing",500000,"15/02/2017","Up",0.5,"PG &Phd","Auto farm Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Dr.Mohd.Majid",9417207745,"mohdmajid_2004@rediffmail.com","Dr.jagtar Singh","jagtarsliet@gmail.com",9781122101,"NO","NO","TEQIP","2012-2017"]
["Muffle Furnace","Navinder Singh","navindersliet71@gmail.com",9463791029,"MF","Auto farm lab","Jupiter","NIL","Instituion","GIA","Heat Treatment",99900,"06.10.2015","up",0.5,"PG &Phd","Auto farm Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Dr.Mohd.Majid",9417207745,"mohdmajid_2004@rediffmail.com","Dr.jagtar Singh","jagtarsliet@gmail.com",9781122101,"NO","NO","NA","NA"]
["Viscometer","Sukhdeep Singh","sukhdeep986@gmail.com",8872109125,"VM","Fluid Mechanics lab","Brookfield","LVDV1+","Instituion","GIA","Viscosity checking","1,49,688","22.02.06","Up",0.5,null,"Fluid Mechanics lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Dr.Mohd.Majid",9417207745,"mohdmajid_2004@rediffmail.com","Dr.R.K.Yadav","rkyd@yahoo.com",9417466741,"NO","NO","NA","NA"]
["Pelton wheel turbine test rig.","Sukhdeep Singh","sukhdeep986@gmail.com",8872109125,"PWTT","Fluid Mechanics lab","Creative lab","NIL","Instituion","GIA","Turbine Efficency",104737,"18.06.15","Up",0.5,null,"Fluid Mechanics lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Dr.Mohd.Majid",9417207745,"mohdmajid_2004@rediffmail.com","Dr.R.K.Yadav","rkyd@yahoo.com",9417466741,"NO","NO","NA","NA"]
["Pelton wheel turbine                                  (with data acquisition system)","Sukhdeep Singh","sukhdeep986@gmail.com",8872109125,"PWT","Fluid Mechanics lab","Best Scientfic","BSC-401","External","AICTE ","Turbine Efficency",222495,"15.01.2020","Up",0.5,null,"Fluid Mechanics lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Dr.Mohd.Majid",9417207745,"mohdmajid_2004@rediffmail.com","Dr.R.K.Yadav","rkyd@yahoo.com",9417466741,"NO","NO","R&D project","2019-2022"]
["Francis turbine test rig                            (with data acquisition system)","Sukhdeep Singh","sukhdeep986@gmail.com",8872109125,"FTT","Fluid Mechanics lab","Best Scientfic","BSC-403","External","AICTE ","Turbine Efficency",299145,"15.01.2020","Up",0.5,null,"Fluid Mechanics lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Dr.Mohd.Majid",9417207745,"mohdmajid_2004@rediffmail.com","Dr.R.K.Yadav","rkyd@yahoo.com",9417466741,"NO","No","R&D project","2019-2022"]
["Gas emission analyzer 5G-10","Naresh Kumar","nareshsliet@gmail.com",9417680880,"GEA"," I.C.ENGINE & THERMAL ENGG. LAB  ","Planet Equipment","5G-10","Instituion","GIA","Smoke Testing"," 5075*","2003-12-01","DOWN",0.5,"UG&PG"," I.C.ENGINE & THERMAL ENGG. LAB  ","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Dr.Mohd.Majid",9417207745,"mohdmajid_2004@rediffmail.com","Dr.Indraj Singh","indrajsliet@yahoo.co.in",9417460331,"NO","NO","NA","NA"]
["Variable Compression RatioMultifuel Test Rig with interfacing computer and others","Naresh Kumar","nareshsliet@gmail.com",9417680880,"VCRM"," I.C.ENGINE & THERMAL ENGG. LAB  ","Edu-tek","NIL","Instituion","GIA","BHP,IHP ","1034800/-","26/06/2009","UP",0.5,"UG&PG"," I.C.ENGINE & THERMAL ENGG. LAB  ","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Dr.Mohd.Majid",9417207745,"mohdmajid_2004@rediffmail.com","Dr.Indraj Singh","indrajsliet@yahoo.co.in",9417460331,"NO","NO","NA","NA"]
["Four cylinders four stroke Petrol engine Test rig","Naresh Kumar","nareshsliet@gmail.com",9417680880,"PE"," I.C.ENGINE & THERMAL ENGG. LAB  ","Neelam","NIL","Instituion","GIA","BHP,IHP and Fuel Ratio","309375/-","16/06/2009","DOWN",0.5,"UG&PG"," I.C.ENGINE & THERMAL ENGG. LAB  ","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Dr.Mohd.Majid",9417207745,"mohdmajid_2004@rediffmail.com","Dr.Indraj Singh","indrajsliet@yahoo.co.in",9417460331,"NO","NO","NA","NA"]
["Flue Gas Analyser","Naresh Kumar","nareshsliet@gmail.com",9417680880,"FGA"," I.C.ENGINE & THERMAL ENGG. LAB  ","NIL","TESTO 340","Instituion","GIA","Smoke Testing","459817/-","30/7/2015","UP",0.5,"UG&PG"," I.C.ENGINE & THERMAL ENGG. LAB  ","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Dr.Mohd.Majid",9417207745,"mohdmajid_2004@rediffmail.com","Dr.Indraj Singh","indrajsliet@yahoo.co.in",9417460331,"NO","NO","NA","NA"]
["Slip Gauges","Sukhdeep Singh","sukhdeep986@gmail.com",8872109125,"SG","Metrology Lab","Mitutoyo","NIL","Instituion","MHRD","Measurment",113700,"17.02.2006","UP",0.5,"UG&PG","Metrology Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.Surinder Thakur",9815749166,"surinder_thakur123@yahoo.com","Dr. Rajesh Kumar","rajesh_krs@sliet.ac.in",1672253300,"NO","NO","MODROB","2003-2006"]
["Surface  Roughness Measuring Instrument","Sukhdeep Singh","sukhdeep986@gmail.com",8872109125,"SRMI","Metrology Lab","Kosaka","SE-1200","Instituion","GIA","Surface Roughness Measurment",226875,"23.02.2000","UP",0.5,"UG&PG","Metrology Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.Surinder Thakur",9815749166,"surinder_thakur123@yahoo.com","Er.Surinder Thakur","rajesh_krs@sliet.ac.in",1672253301,"NO","NO","NA","NA"]
["Profile Projector","Sukhdeep Singh","sukhdeep986@gmail.com",8872109125,"PP","Metrology Lab","Metzer optical instruments","801B","Instituion","GIA","Thread Profile.Tool Angle Measurment ",107083,"17.01.2001","UP",0.5,"UG&PG","Metrology Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.Surinder Thakur",9815749166,"surinder_thakur123@yahoo.com","Er.Surinder Thakur","rajesh_krs@sliet.ac.in",1672253302,"NO","NO","NA","NA"]
["Autocollimator ","Sukhdeep Singh","sukhdeep986@gmail.com",8872109125,"AC","Metrology Lab","G.G.Instruments","A-1","Instituion","MHRD","Tilt/Angular Measurment of surface",120798,"17.02.2006","UP",0.5,"UG&PG","Metrology Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.Surinder Thakur",9815749166,"surinder_thakur123@yahoo.com","Er.Surinder Thakur","rajesh_krs@sliet.ac.in",1672253303,"NO","NO","MODROB","2003-2006"]
["Set of three wires for  floating carriage ","Sukhdeep Singh","sukhdeep986@gmail.com",8872109125,"TWFC","Metrology Lab","Mitutoyo","NIL","Instituion","MHRD","Thread Measurment",119080,"17.02.2006","UP",0.5,"UG&PG","Metrology Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.Surinder Thakur",9815749166,"surinder_thakur123@yahoo.com","Er.Surinder Thakur","rajesh_krs@sliet.ac.in",1672253304,"NO","NO","MODROB","2003-2006"]
["Low Force Vibration Model Exciter ","Sukhdeep Singh","sukhdeep986@gmail.com",8872109125,"LFVM","Metrology Lab","The Modal Shop","K2004E01","Instituion","GIA","To produce controlled vibration",176596,"26.03.2010","UP",0.5,"PG &Phd","Metrology Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.Surinder Thakur",9815749166,"surinder_thakur123@yahoo.com","Er.Surinder Thakur","rajesh_krs@sliet.ac.in",1672253305,"NO","NO","NA","NA"]
["Function Generator ","Sukhdeep Singh","sukhdeep986@gmail.com",8872109125,"FGA","Metrology Lab","Aglient","33220A","Instituion","GIA","To create waveform of desired frequency",150800,"31.03.2010","UP",0.5,"PG &Phd","Metrology Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.Surinder Thakur",9815749166,"surinder_thakur123@yahoo.com","Er.Surinder Thakur","rajesh_krs@sliet.ac.in",1672253306,"NO","NO","NA","NA"]
["Thermo Graphic Image Scanner","Sukhdeep Singh","sukhdeep986@gmail.com",8872109125,"TGIS","Metrology Lab","Wuhan Guide Infrared","M-8","Instituion","GIA","Temprature Measurment",405000,"11.04.2011","UP",0.5,"PG &Phd","Metrology Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.Surinder Thakur",9815749166,"surinder_thakur123@yahoo.com","Er.Surinder Thakur","rajesh_krs@sliet.ac.in",1672253307,"NO","NO","NA","NA"]
["Portable Surface Roughness Tester","Sukhdeep Singh","sukhdeep986@gmail.com",8872109125,"PSRT","Metrology Lab","Taylor Hobson","SURTRONIC-25","External","MHRD","Surface Roughness Measurment","4,60,952","11.10.2013","UP",0.5,"PG &Phd","Metrology Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.Surinder Thakur",9815749166,"surinder_thakur123@yahoo.com","Er.Surinder Thakur","rajesh_krs@sliet.ac.in",1672253308,"NO","NO","TEQIP","2012-2017"]
["Compact DAQ/USB for  Accelerometer","Sukhdeep Singh","sukhdeep986@gmail.com",8872109125,"CDA","Metrology Lab","National Instruments","NI-USB-4431","Instituion","GIA","Vibration data acquisition ","2,14,500","31.03.2014","UP",0.5,"PG &Phd","Metrology Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.Surinder Thakur",9815749166,"surinder_thakur123@yahoo.com","Er.Surinder Thakur","rajesh_krs@sliet.ac.in",1672253309,"NO","NO","NA","NA"]
["Tri- Axial  Ceramic Shear Accelerometer","Sukhdeep Singh","sukhdeep986@gmail.com",8872109125,"TAA","Metrology Lab","PCB-PIEZOTRONICS","356A01","Instituion","GIA","vibration sensor","1,70,000","31.03.2014","UP",0.5,"PG &Phd","Metrology Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.Surinder Thakur",9815749166,"surinder_thakur123@yahoo.com","Er.Surinder Thakur","rajesh_krs@sliet.ac.in",1672253310,"NO","NO","NA","NA"]
["Data Acquisition System","Sukhdeep Singh","sukhdeep986@gmail.com",8872109125,"DAS","Metrology Lab","National Instruments","NI 9045 , 9232","Instituion","GIA","Vibration data acquisition ","7,93,906","31.03.2018","UP",0.5,"PG &Phd","Metrology Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.Surinder Thakur",9815749166,"surinder_thakur123@yahoo.com","Er.Surinder Thakur","rajesh_krs@sliet.ac.in",1672253311,"NO","NO","NA","NA"]
["Ultra Sonic Flaw Detector","Er.Ajay Gupta","4ajaygupta@.in.com",9417542571,"USFD","Non Destructive testing Lab  ","NIL","NIL","Instituion","GIA","Flaw and thickness testing","145105/-","17/01/1997","DOWN",0.5,"UG&PG","Non Desctructive testing machine lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Dr.Mohd.Majid",9417207745,"mohdmajid_2004@rediffmail.com","Dr.A.Shahi","ashahisliet@yahoo.co.in",9872426789,"NO","NO","NA","NA"]
["Ultra  Flaw Detector","Er.Ajay Gupta","4ajaygupta@.in.com",9417542572,"UFD","Non Destructive testing Lab  ","NIL","NIL","External","MHRD","Flaw and thickness testing","354950/-","2005-05-01","DOWN",0.5,"UG&PG","Non Desctructive testing machine lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Dr.Mohd.Majid",9417207745,"mohdmajid_2004@rediffmail.com","Dr.A.Shahi","ashahisliet@yahoo.co.in",9872426789,"NO","NO","MHRD","NA"]
["Ultra Sonic Probe Set for weld testing","Er.Ajay Gupta","4ajaygupta@.in.com",9417542573,"USPS","Non Destructive testing Lab  ","NIL","NIL","Instituion","GIA","Flaw and thickness testing","202089/-","2005-05-05","DOWN",0.5,"UG&PG","Non Desctructive testing machine lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Dr.Mohd.Majid",9417207745,"mohdmajid_2004@rediffmail.com","Dr.A.Shahi","ashahisliet@yahoo.co.in",9872426789,"NO","NO","NA","NA"]
["Refrigeration fault Simulator","Pinderjit Singh","pinderjitruhela@gmail.com",9465100227,"RFS","RAC Lab","Edu-tek","NIL","Instituion","GIA","Fault simulation","1,97,400/-","07.10.2010","UP",0.5,"UG&PG","Refregeration and Air Conditioning lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Dr.Mohd.Majid",9417207745,"mohdmajid_2004@rediffmail.com","Er.S.C.Verma","scvermaran@gmail.com",9417339750,"No","NO","NA","NA"]

{"sheet":"Sheet1","index":1,"n_rows":13,"n_cols":31,"rows_kept":13,"cut":false,"hidden":false,"merged":[]}
["Equipment Name","Name of Equipment Technologist/Operator","Email id of Equipment Technologist/Operator","Contact No. (Mobile No.) of Equipment Technologist/Operator","Approved Abbreviation","Landmark/Location (Room No.)","Make (Manufacturer of Equipment)","Model No.","Funding Agency Type (External/Instituion)","Funding Agency Details (Use Comma if multiple) Such as DST, CSIR, ICMR etc.","Equipment Description","Cost of Instrument Sanctioned in the Project","Year of Installation","Present status of Equipment (Up/Down/Under Maintenance)","% of total time to be made available to the external users","Category","Lab/Facility Name","Department Name","Name of Head of the Department","Email id of Head of the Department","Phone No. (Office) of Head of the Department","Name of Department Representative","Contact No. of Department Representative","Email id of Department Representative","Name of Faculty Incharge of Facility","Email id of Faculty Incharge of Facility","Contact No. of Faculty Incharge of Facility","Name of Departments (in case Faculty Incharge belongs to multiple departments) ","Name of Departments (in case Equipment Technologist/Operator belongs to multiple departments)","Name of the Project","Duration (From Year - To Year) "]
["Slip Gauges","Sukhdeep Singh","sukhdeep986@gmail.com",8872109125,"SG","Metrology Lab","Mitutoyo","NIL","Instituion","MHRD","Measurment",113700,"17.02.2006","UP",0.5,"UG&PG","Metrology Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.Surinder Thakur",9815749166,"surinder_thakur123@yahoo.com","Dr. Rajesh Kumar","rajesh_krs@sliet.ac.in",1672253300,"NO","NO","MODROB","2003-2006"]
["Surface  Roughness Measuring Instrument","Sukhdeep Singh","sukhdeep986@gmail.com",8872109125,"SRMI","Metrology Lab","Kosaka","SE-1200","Instituion","GIA","Surface Roughness Measurment",226875,"23.02.2000","UP",0.5,"UG&PG","Metrology Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.Surinder Thakur",9815749166,"surinder_thakur123@yahoo.com","Er.Surinder Thakur","rajesh_krs@sliet.ac.in",1672253301,"NO","NO","NA","NA"]
["Profile Projector","Sukhdeep Singh","sukhdeep986@gmail.com",8872109125,"PP","Metrology Lab","Metzer optical instruments","801B","Instituion","GIA","Thread Profile.Tool Angle Measurment ",107083,"17.01.2001","UP",0.5,"UG&PG","Metrology Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.Surinder Thakur",9815749166,"surinder_thakur123@yahoo.com","Er.Surinder Thakur","rajesh_krs@sliet.ac.in",1672253302,"NO","NO","NA","NA"]
["Autocollimator ","Sukhdeep Singh","sukhdeep986@gmail.com",8872109125,"AC","Metrology Lab","G.G.Instruments","A-1","Instituion","MHRD","Tilt/Angular Measurment of surface",120798,"17.02.2006","UP",0.5,"UG&PG","Metrology Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.Surinder Thakur",9815749166,"surinder_thakur123@yahoo.com","Er.Surinder Thakur","rajesh_krs@sliet.ac.in",1672253303,"NO","NO","MODROB","2003-2006"]
["Set of three wires for  floating carriage ","Sukhdeep Singh","sukhdeep986@gmail.com",8872109125,"TWFC","Metrology Lab","Mitutoyo","NIL","Instituion","MHRD","Thread Measurment",119080,"17.02.2006","UP",0.5,"UG&PG","Metrology Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.Surinder Thakur",9815749166,"surinder_thakur123@yahoo.com","Er.Surinder Thakur","rajesh_krs@sliet.ac.in",1672253304,"NO","NO","MODROB","2003-2006"]
["Low Force Vibration Model Exciter ","Sukhdeep Singh","sukhdeep986@gmail.com",8872109125,"LFVM","Metrology Lab","The Modal Shop","K2004E01","Instituion","GIA","To produce controlled vibration",176596,"26.03.2010","UP",0.5,"PG &Phd","Metrology Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.Surinder Thakur",9815749166,"surinder_thakur123@yahoo.com","Er.Surinder Thakur","rajesh_krs@sliet.ac.in",1672253305,"NO","NO","NA","NA"]
["Function Generator ","Sukhdeep Singh","sukhdeep986@gmail.com",8872109125,"FGA","Metrology Lab","Aglient","33220A","Instituion","GIA","To create waveform of desired frequency",150800,"31.03.2010","UP",0.5,"PG &Phd","Metrology Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.Surinder Thakur",9815749166,"surinder_thakur123@yahoo.com","Er.Surinder Thakur","rajesh_krs@sliet.ac.in",1672253306,"NO","NO","NA","NA"]
["Thermo Graphic Image Scanner","Sukhdeep Singh","sukhdeep986@gmail.com",8872109125,"TGIS","Metrology Lab","Wuhan Guide Infrared","M-8","Instituion","GIA","Temprature Measurment",405000,"11.04.2011","UP",0.5,"PG &Phd","Metrology Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.Surinder Thakur",9815749166,"surinder_thakur123@yahoo.com","Er.Surinder Thakur","rajesh_krs@sliet.ac.in",1672253307,"NO","NO","NA","NA"]
["Portable Surface Roughness Tester","Sukhdeep Singh","sukhdeep986@gmail.com",8872109125,"PSRT","Metrology Lab","Taylor Hobson","SURTRONIC-25","Instituion","MHRD","Surface Roughness Measurment","4,60,952","11.10.2013","UP",0.5,"PG &Phd","Metrology Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.Surinder Thakur",9815749166,"surinder_thakur123@yahoo.com","Er.Surinder Thakur","rajesh_krs@sliet.ac.in",1672253308,"NO","NO","TEQIP","2010-2015"]
["Compact DAQ/USB for  Accelerometer","Sukhdeep Singh","sukhdeep986@gmail.com",8872109125,"CDA","Metrology Lab","National Instruments","NI-USB-4431","Instituion","GIA","Vibration data acquisition ","2,14,500","31.03.2014","UP",0.5,"PG &Phd","Metrology Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.Surinder Thakur",9815749166,"surinder_thakur123@yahoo.com","Er.Surinder Thakur","rajesh_krs@sliet.ac.in",1672253309,"NO","NO","NA","NA"]
["Tri- Axial  Ceramic Shear Accelerometer","Sukhdeep Singh","sukhdeep986@gmail.com",8872109125,"TAA","Metrology Lab","PCB-PIEZOTRONICS","356A01","Instituion","GIA","vibration sensor","1,70,000","31.03.2014","UP",0.5,"PG &Phd","Metrology Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.Surinder Thakur",9815749166,"surinder_thakur123@yahoo.com","Er.Surinder Thakur","rajesh_krs@sliet.ac.in",1672253310,"NO","NO","NA","NA"]
["Data Acquisition System","Sukhdeep Singh","sukhdeep986@gmail.com",8872109125,"DAS","Metrology Lab","National Instruments","NI 9045 , 9232","Instituion","GIA","Vibration data acquisition ","7,93,906","31.03.2018","UP",0.5,"PG &Phd","Metrology Lab","ME Department","Dr.Rajesh Kumar","hodme@sliet.ac.in",1672253124,"Er.Surinder Thakur",9815749166,"surinder_thakur123@yahoo.com","Er.Surinder Thakur","rajesh_krs@sliet.ac.in",1672253311,"NO","NO","NA","NA"]